## PPE
List of goods needed for MoPH - Lebanon COVID19 Response
# | Description | Unit | Quantity | Supplier | QTY available | expected delivery time
A | N95: Particulalte respirator compliant with NIOSH N95 or EN 149 FFFP2 and fluid resistant (1/2 medium, 1/2 Large) | Piece | 607440
B | 3 ply surgical face mask, compliant with EN 14683 type IIR or ASTM F2100 level2 or level 3 or equivalent | Box of 50 | 43565
C | Disposable gown: single use, long sleeves, fiber made non woven, thumb loop, tape tab for neck closure, water and liquids proof, compliant with the EN 13795 high performance level, or AAMI level 3 performance or equivalent | Piece | 1289940
D | Goggles / eye protection compliant with EU standard directive 86/686/EEC, EN 166/2002 or ANSI/ISEA Z87.1-2010 or equivalent | Piece | 891900
E | Disposable coverall: compliant with EN 943-1:2002 such TYVEK or equivalent (1/3L, 1/3XL, 1/3XXL) | Piece | 142700
F | Nitrile gloves (1/3Medium, 1/3Large, /3XLarge) | Pair | 49820
F2 | Latex gloves free powder | Box of 100 | 28620
F3 | Latex gloves powdered (Small) | Box of 100 | 450
G | Trash bags (Medium) | Roll | 12470
H | Hand sanitizer 1liter | Piece | 131450
I | Disinfectant solution, Pc spray | Piece | 11435
J | Zipped bags (30 cm*15 cm) | Piece | 8325
K | Zipped bags (15 cm*10 cm) | Piece | 21870
L | Zipped bags (15 cm*20 cm) | Piece | 24300
M | Face shield compliant with EU standard directive 86/686/EEC, EN 166/2002 or ANSI/ISEA Z87.1-2010 or equivalent | Piece | 20000
O | Cover shoes for tyvek coverall or equivalent | Pair | 282720
P | High risk nitrile gloves | Box of 100 | 5000
Q | Duct tape | Pair | 10000
R | Disposable covers | Piece | 10000
S | Cadaver bags | Piece | 5000
T | Thermometer: digital infrared | Piece | 5538
T2 | Thermometer batteries fitting the digital infrared thermometer | Piece | 7020
U | Tissue paper | Box of 100 | 5000
V | Scissors | Piece | 5000
W | Permanent marker | Piece | 5000
X | Cover head | Piece | 1254150
Y | Cover shoes | Pair | 1255050
Z1 | Transparent plastic box 35L | Piece | 10
Z2 | Transparent plastic box 15- 20L | Piece | 16
Z3 | Autoclavable bags, biohazard Bag / Medium | Piece | 4500
Z4 | Autoclavable bags, biohazard Bag / Large | Piece | 4500
Z5 | Sharp containers 0.6L | Piece | 50
Z6 | Sharp containers 28L | Piece | 4
Z7 | Sharp containers 3.78L | Piece | 14
Z8 | Sharp containers 7.5L | Piece | 30
Z9 | Bacillol | Piece | 450
Z10 | Alcoholic, Hand Rub-(Sterilium) 500 ml | Piece | 450
Z11 | Pissette 500 mll | Piece | 100
Z12 | Gauze 10*10 | Piece | 1350
Z13 | Towel Roll | Piece | 3150
Z14 | Dosing pump | Piece | 100
Z15 | Waste bin closed with piddle / medium | Piece | 60
Z16 | Waste bin closed with piddle / Large | Piece | 30
Z17 | Regular Lab. coats for each technician (Medium) | Piece | 260
Z18 | Regular Lab. coats for each technician (Large) | Piece | 140
Z19 | Regular Lab. coats for each technician (Small) | Piece | 60
Z20 | Clorox , eau de javel 5 liters | Piece | 90
Z21 | Isopropanol, Alcohol 70% 5 liters | Piece | 90
Z22 | Baktolin,1LITRE, Wash pure ,colorant free, Mild, perfume-free wash lotion with skin friendly, PH5.5 | Piece | 180
R1 | QIAmp Viral RNA minikit (250 Reactions) QIAGEN | kit | 30
R2 | MagNA Pure Compact NA isolation kit I, Roche | kit | 300
R3 | Rnase Inhibitor 40U/µl, Invitrogen | kit | 50
R4 | SuperScript III Platinum Pne-Step qRT-PCR kit 100rxns, Invitrogen | kit | 120
R5 | Microamp 96-well reactions plate, ABI Systems | kit | 60
R6 | LightCycler Capillaries 20µl (5*96 capillaries), Roche | kit | 20
R7 | Sterile pipette tips with aerosol-resistant filters: 0.1-200µl, Costar |  | 60
R8 | Sterile pipette tips with aerosol-resistant filters:100-1000 µl, Costar |  | 60
R9 | Ethanol 100% (in glass bottles,1 l), Merck |  | 20
R10 | Ethanol 70% (1 l) |  | 24
R12 | Nuclease free water (10*50ml), Ambion |  | 10
R13 | Cryovial box & lid (5¼ x 5¼ x 1 7/8″), 50mm, Assorted Colors |  | 80
R14 | Biohazard specimen bag, Mnigrip/labguard |  | 20000
Z23 | Bed Sheet 305x150 | piece | 60000
Z24 | Pillow single use 70x50 | piece | 58500
Z25 | Pillow cover 70x55 | piece | 135000
Z26 | Blankets 150x80 | piece | 58500
Z27 | Hydro solubale bags | piece | 75600
Z28 | Scrub Suits L, XL, XXL | piece | 45900
T4 | Hepa filters |  | 20
T5 | covid- Naso-pharyngeal swab, pediatric, flocked swabs, copan | piece | 2000
T6 | covid-Viral transport media VTM, for the collection and preservation of virus and other microorganisms | piece | 2000
T7 | covid- Naso-pharyngeal swab, adult, flocked swabs, copan with VTMs | piece | 10000
T8 | Stationary, toners, papers, …. | piece | 40000
T9 | Portable X-Ray (with cassettes) | piece | 10
T10 | ECG machine | piece | 10
T11 | Suction pump | piece | 50
T12 | Syringe pump | piece | 50
T13 | Infusion pump | piece | 50
T14 | IV stand | piece | 500
T15 | Vital signs monitor | piece | 50
T16 | Defibrillator | piece | 10
T17 | VENTILATORS (ambulatory for pediatric) | piece | 50
T18 | VENTILATORS (ambulatory for adults) | piece | 200
T19 | Computer + printer | piece | 25
T22 | Stainless trail | piece | 100
T24 | Otoscope | piece | 50
T25 | Negative pressure in isolated rooms | piece | 10
T26 | Oxygen regulator | piece | 500
T28 | Suction regulator | piece | 500
T29 | Electric beds | piece | 125
T30 | TV | piece | 125
T31 | PCR machines | piece | 5